**Attachment B**

The MCPS water testing program conducted at ***“Insert Facility Name”*** indicated the following outlet(s) had elevated lead levels.  Please have Building Services immediately take the following action for the outlet(s) listed below.  The barcode should be located next to the outlet. 

|  |  |  |  |
| --- | --- | --- | --- |
| **Outlet Type** | **Outlet Location** | **Outlet Barcode** | **Action** |
| Drinking Water Fountain - Bubbler Style | In resource center A114 | M35500 | Remove from Service |
| Faucet | In resource center A114 | M35499 | Post Sign |
| Drinking Water Fountain – Cooler/Chiller Style | In day care A117 | LW04472 | Remove from Service |
| Drinking Water Fountain - Bubbler Style | In classroom H205 | M35458 | Remove from Service |

The outlet can be removed from service by shutting off the valve to the outlet or submitting a work order to DMO for assistance. ***(Do not include this sentence if there are no bubblers or fountains with elevated lead levels)***

A sample sign is attached that can be printed and posted immediately above the faucet.  We will mail a permanent sign to the Building Service Manager in the Pony. ***(Do not include these two sentences if there are no faucets with elevated lead levels)***

Please contact me with any questions.