## Sheet1
NEW CONTRACT Item Number | Service Center | MCPS Barcode | Facility | Unit price Preventive Maintenance |  | Brand | Model | Serial No. | KW | Fuel | Year | Room/Area - Location of Generator | Unit Price Load bank test | Coolant Change | Coolant Flush | Comments
|  |  |  | Kelly | Cummins
Item 1 | DCMO | 110060631 | Albert Einstein High | 524 | 400 | Generac | M96A04695-9 | 2030321 | 45 | Nat-Gas | 1995 | 200M
Item 2 | DCMO | 110072201 | Arcola Elementary | 627 | 594 | Detroit Diesel | M.125G8G | 2148396 | 125 | Nat-Gas | 2007
Item 3 | DCMO | 110037113 | Argyle Middle | 524 | 400 | Onan | M35EK | F970640461 | 30 | Nat-Gas | 1997
Item 4 | DCMO | 110092790 | Banneker Middle | 627 | 491 | Kohler | M100REGZD | SGM32643G | 100 | Nat-Gas | 2013 | Exterior of boiler room
Item 5 | DCMO | 110093991 | Bel Pre Elementary | 627 | 594 | Kohler | M125REZGC | SGM329F9V | 125 | Nat-Gas | 2014 | Outside
Item 6 | DCMO | 110003548 | Belmont Elementary | 524 | 491 | Elliot | MFC1262011U | SBY07J590 | 60 | Nat-Gas | 2003 | Chiller pad
Item 7 | DCMO | 110059738 | Blair High | 753 | 594 | DMT | 125GH | 96204619-1 | 156 | Nat-Gas | 1996 | Outside by kitchen, elec room
Item 8 | DCMO | 110032249 | Blake High | 627 | 594 | Generac | M97A06752-S | 2038620 | 125 | Nat-Gas | 1997 | Outside, chiller pad
Item 9 | DCMO | 110049167 | Briggs Chaney Middle | 524 | 400 | Onan | 30EKL23734S | L900362969 | 37.5 | Propane | 1990 | Boiler Room
Item 10 | DCMO | 110043734 | Broad Acres Elementary | 524 | 491 | Kohler | M5QRZGB | 2084039 | 50 | Nat-Gas | 2006 | 201 boiler room
Item 11 | DCMO | 110123645 | Brooke Grove Elementary | 524 | 491 | Onan | 60ENL33466E | B890213003 | 75 | Propane | 2019 | Room In Boiler Room, Gen Rm
Item 12 | DCMO | 110113449 | Burnt Mills Elementary | 627 | 491 | Generac | M90A02369-S | S992619 |  | Propane | 2020 | Outside by chiller pad
Item 13 | DCMO | 110023570 | Burtonsville Elementary | 461 | 250 | Generac | M92A036455 | SG015-K3630 | 15 | Nat-Gas | 1993 | Room by main office
Item 14 | DCMO | 110081162 | Cannon Road Elementary | 627 | 491 | Generac | M1333307200 | 2112028 | 80 | Nat-Gas | 2012 | Outside in back by gym
Item 15 | DCMO | 110023789 | Cloverly Elementary | 524 | 491 | Generac | M984020497-5 | 2041224 | 70 | Propane | 1998 | Outside, chiller pad
Item 16 | DCMO | 110080016 | Crest Haven Elementary | 627 | 491 | Kohler | M100RZG | S2230579 | 100 | Nat-Gas | 2010 | Outside Next to Loading Dock
Item 17 | DCMO | 110089232 | Down County Maintenance Operations | 461 | 250 | Onan | 20ES | E970638738 | 20 | Nat-Gas | 2005 | Outside
Item 18 | DCMO | 110033005 | Drew Elementary | 524 | 491 | Onan | M75ENTL | SE901386783 |  | Nat-Gas | 1991 | Room By Mechanical Operations, Generator Rm
Item 19 | DCMO | 110074432 | East Silver Spring Elementary | 524 | 491 | Generac | M10988900200 | 2102497 | 70 | Nat-Gas | 2010 | Next to BSM Mechanic Room Outside
Item 20 | DCMO | 110095940 | Eastern Middle | 627 | 594 | Kohler |  |  | 125 | Nat-Gas | 2015 | Outside of boiler room
Item 21 | DCMO | 110092803 | Fairland Center | 627 | 491 | MTU | GS001100N6SPT B099 | 35913410613 | 100 | Nat-Gas | 2013 | Exterior of boiler room
Item 22 | DCMO | 110105716 | Fairland Elementary | 627 | 491 | Kohler | 80RZ82 | 285939 | 80 | Nat-Gas | 2017 | Outside fenced area
Item 23 | DCMO | 110103386 | Farquhar Middle | 524 | 400 | Onan | 35EK | F970640459 | 35 | Nat-Gas | 2016 | On side by street
Item 24 | DCMO | 110085713 | Flora Singer Elementary | 627 | 594 | Kohler | 125REZG | 3034082 | 125 | Nat-Gas | 2012 | Outside by Trash Area
Item 25 | DCMO | 110037627 | Forest Knolls Elementary | 524 | 400 | Generac | 93A01824S | 2007281 | 25 | Nat-Gas | 1993 | Outside, chiller pad
Item 26 | DCMO | 110069880 | Galway Elementary | 834 | 814 | Generac | 10044060300 | 2099363 | 250 | Nat-Gas | 2008 | Generator
Item 27 | DCMO | 110089100 | Georgian Forest Elementary | 627 | 636 | Kohler | 80REZGD | SGM322K77 | 80 | Nat-Gas | 1995 | Outside, chiller pad
Item 28 | DCMO | 110037936 | Glen Haven Elementary | 627 | 491 | Onan | GGKD-5588119 | A030453847 | 100 | Nat-Gas | 2002 | Outside, chiller pad
Item 29 | DCMO | 110088781 | Glenallan Elementary | 753 | 594 | Kohler | 150REZGC | SGM324PDD |  | Nat-Gas | 2013 | Outside
Item 30 | DCMO | 110113859 | Greencastle Elementary | 524 | 400 | Generac | 87A02831-S | 860759 | 25 | Nat-Gas | 2018 | Outside
Item 31 | DCMO | 110015024 | Greenwood Elementary | 627 | 491 | Baldor | 1095080-G32 | 508010007 | 80 | Nat-Gas | 2005 | Generator pad
Item 32 | DCMO | 110078652 | Highland Elementary | 524 | 491 | Kohler | 60REZGB | 2298801 | 60 | Nat-Gas | 2010 | Outside Building behind Electrical Room
Item 33 | DCMO | 110092820 | Highland View Elementary | 627 | 491 | Kohler | 80REZGD | SGM325ZCT | 80 | Nat-Gas | 2013 | Rear of facility next to portable power shed
Item 34 | DCMO | 110081442 | Jackson Road Elementary | 627 | 491 | Generac | 11901350200 | 2106057 | 80 | Nat-Gas | 2011 | Outside
Item 35 | DCMO | 110043089 | Kemp Mill Elementary | 524 | 400 | Generac | 96A01973 | 2027424 | 30 | Nat-Gas | 1996 | Outside by chiller pad
Item 36 | DCMO | 110052526 | Kennedy High | 524 | 400 | Onan | 45EML381895 |  |  | Nat-Gas | 1998 | Outside, generator pad
Item 37 | DCMO | 110071473 | Key Middle | 834 | 814 | Generac | 9723300400 | 2096679 | 250 | Nat-Gas | 2009 | Outside Pump Room on Pad
Item 38 | DCMO | 110055535 | Lee Middle | 524 | 400 | Onan | 35EK | F970640460 | 35 | Nat-Gas | 1997
Item 39 | DCMO | 110082250 | Montgomery Knolls Elementary | 627 | 491 | Kohler | 100REZG | 2304841 | 100 | Nat-Gas | 2011 | Outside
Item 40 | DCMO | 110092830 | Montrose Center | 627 | 491 | MTU | GS0100N6 SRTB0994 | S3616110713 | 100 | Nat-Gas | 2013 | Outside Fire Alarm Control Room
Item 41 | DCMO | 110096067 | New Hampshire Estates Elementary | 524 | 400 | Kohler | 30RZ272 | 183002-72 | 45 | Propane | 2016 | Outside
Item 42 | DCMO | 110057428 | Newport Mill Middle | 524 | 491 | Alban Cat | D5G64216005E |  | 50 | Nat-Gas | 2001 | Outside, chiller pad
Item 43 | DCMO | 110089233 | Northwood High | 627 | 400 | Detroit Diesel | 125GSG | 2030319 | 125 | Nat-Gas | 2005 | Outside by trash room
Item 44 | DCMO | 110033755 | Northwood High | 524 | 594 | Onan | 45EEML34793 | F890245293 | 30 | Propane | 2005 | Inside fire sprinkler room
Item 45 | DCMO | 110084992 | Oak View Elementary | 524 | 491 | Detroit Diesel | 50GSGB | GM21302-GAIS |  | Nat-Gas | 1997 | Outside, Generator Pad
Item 46 | DCMO | 110044316 | Oakland Terrace Elementary | 461 | 250 | Generac | 93A01823-S | 2007280 | 15 | Nat-Gas | 1993 | Outside, generator pad
Item 47 | DCMO | 110095927 | Olney Elementary | 753 | 594 | Kohler | 150REZGC | SGM32F765 | 150 | Nat-Gas | 2015 | Outside fenced area
Item 48 | DCMO | 110045167 | Page Elementary | 753 | 491 | Kohler | 35RZG | 729998 | 71 | Nat-Gas | 2002 | Outside, generator pad
Item 49 | DCMO | 110086869 | Paint Branch High | 834 | 400 | Generac | 12898781100 | 2111087 | 250 | Nat-Gas | 2012 | Outside by Loading Dock
Item 50 | DCMO | 110086868 | Paint Branch High | 524 | 814 | Generac | 12898781100 | 2111087 | 250 | Nat-Gas | 2012 | Outside by Loading Dock
Item 51 | DCMO | 110090138 | Paint Branch High | 524 | 814 | Generac | 15037340200 | 7847975 | 39.9 |  | 2012 | Outside by Concessions Stand
Item 52 | DCMO | 110080749 | Pine Crest Elementary | 524 | 400 | Generac | 92A02110S | G030K3650N 18CBYYC | 30 | Nat-Gas | 1992 | Outside Chiller Yard
Item 53 | DCMO | 110092808 | Piney Branch Elementary | 627 | 491 | Kohler | 80REZD | GM81112GA4 |  | Nat-Gas | 2013 | Generator room
Item 54 | DCMO | 110025046 | Randolph Transportation | 524 | 400 | Generac | QT04554GNS | 4808305 | 45 | Nat-Gas | 2007 | RMD/Bus Repair Shop
Item 55 | DCMO | 110031633 | Rock View Elementary | 524 | 491 | Generac | 99A02257S | 2047501 | 50 | Nat-Gas | 1999 | Outside, Generator Pad
Item 56 | DCMO | 110068888 | Rocking Horse Road Center | 524 | 491 | Kohler | 60REZGB | 39001011 | 60 | Nat-Gas | 2007 | Outside by Boiler Room
Item 57 | DCMO | 110068219 | Rolling Terrace Elementary | 627 | 491 | Kohler | 100REZGD | 3029850 | 100 | Nat-Gas | 2012 | Outside, Chiller Pad
Item 58 | DCMO | 110047217 | Rosa Parks Middle | 524 | 400 | Kohler | 33RZ72 | 287990 |  | Nat-Gas | 1992 | Outside, generator
Item 59 | DCMO | 110053686 | Roscoe Nix Elementary | 524 | 491 | Kohler | 80RZG | 2098688 | 80 | Nat-Gas | 2006 | Outside, Cooling Tower Pad
Item 60 | DCMO | 110113747 | Sherwood Elementary | 524 | 400 | Onan | 300GF6005A3031 | 19140 | 30 | Propane | 2018 | Outside
Item 61 | DCMO | 110066005 | Sherwood High | 524 | 491 | On-Site Energy | 50RGC6NLT1 | 332064 | 62 | Nat-Gas | 2011 | Outside
Item 62 | DCMO | 110036249 | Silver Spring International Middle S. | 524 | 400 | Onan | SG30722641 | 734423 | 30 | Nat-Gas | 1998 | Outside, Generator Rm
Item 63 | DCMO | 110035622 | Sligo Creek Elementary | 524 | 400 | Generac | SG30/22641 | 734423 | 37.5 | Propane | 2000 | Room By Generator Rm
Item 64 | DCMO | 110051207 | Sligo Middle | 524 | 400 | Generac | SG30 2264 |  | 39 | Propane | 1990 | Outside, Cooling Tower Generator Pad
Item 65 | DCMO | 110068904 | Spring Mill Center | 524 | 491 | Kohler | 60REZGB | SGM332G43 | 60 | Nat-Gas | 2012 | Boiler room
Item 66 | DCMO | 110024730 | Springbrook High | 524 | 491 | Onan | 70ENC | F930511857 | 70 | Nat-Gas | 1994 | Room By Auditorium, Stage
Item 67 | DCMO | 110105012 | Stephen Knolls | 524 | 491 | Kohler | 60REZG | 2261981 | 60 | Nat-Gas | 2016 | Court Yard
Item 68 | DCMO | 110024098 | Stone Gate Elementary | 524 | 400 | Baldor | 1095045-G44 |  | 39 | Nat-Gas | 2006 | Outside, Generator Pad
Item 69 | DCMO | 110031846 | Strathmore Elementary | 524 | 491 | Kohler | 50RZGB | 2169027 |  | Nat-Gas | 2007 | Outside By 110031786
Item 70 | DCMO | 110078729 | Takoma Park Elementary | 524 | 491 | Kohler | 100RZG | 225901 | 100 | Nat-Gas | 2010 | Outside Across from Cooling Tower
Item 71 | DCMO | 110035140 | Takoma Park Middle | 524 | 491 | Spectrum Diesel | 60G1S60 | 600693 |  | Nat-Gas | 1999 | Room By Mech. Rm, Staircase 8, PH 2 Generator Rm
Item 72 | DCMO | 110089230 | West Farm Bus Depot | 524 | 400 | Kohler | 35RZ72 | 382939 | 35 | Nat-Gas | 2012
Item 73 | DCMO | 110043317 | Westover Elementary | 524 | 400 | Spectrum Diesel | 30GS60 | 396963 | 30 | Nat-Gas | 1998 | Outside By Boiler Room, Chiller Pad
Item 74 | DCMO | 110068936 | White Oak Middle | 627 | 594 | MTU | 431PSL62041 | MX168371 01/12 | 125 | Nat-Gas | 2012 | Outside, Nw
Item 75 | DCMO | 110078715 | Woodlin Elementary | 524 | 491 | Kohler | 60REZG | 2298800 | 60 | Nat-Gas | 2010
Item 76 | MCMO | 110041200 | Ashburton Elementary | 627 | 491 | Kohler | 100RZG | 2183297 | 100 | Nat-Gas | 2008 | Boiler Room
Item 77 | MCMO | 110092075 | Bannockburn Elementary | 524 | 491 | Kohler | 60REZGB | SGM322DN7 | 60 | Nat-Gas | 2012 | Outside
Item 78 | MCMO | 110123246 | Bayard Rustin ES | 753 | 594 | Kohler | 150REZGC | SGM32LTML | 150 | Nat-Gas | 2018 | Back outside
Item 79 | MCMO | 110105477 | Beall Elementary | 627 | 594 | MTU | GS00125N6SRAO994 | 359198-1-1-0613 | 125 | Nat-Gas | 2013 | Exterior of facility between trash room and gym
Item 80 | MCMO | 110079299 | Bells Mill Elementary | 753 | 594 | Generac | 1076210200 | 2101521 |  | Nat-Gas | 2009 | In Generator cage
Item 81 | MCMO | 110039318 | Bethesda Chevy Chase High | 524 | 491 | Generac | 20A00249S | 2054228 | 75 | Nat-Gas | 2002 | Generator Room
Item 82 | MCMO | 110065707 | Bethesda Elementary | 524 | 400 | Generac | 99A00617-S | 2406136 | 35 | Nat-Gas | 1999 | N Equipment Yard
Item 83 | MCMO | 110087360 | Beverly Farms Elementary | 834 | 594 | Generac | 14113930100 | 2115067 |  | Nat-Gas | 2012 | Outside by receiving area
Item 84 | MCMO | 110092438 | Bradley Hills Elementary | 627 | 491 | Kohler | 80REZGD | SGM324LBG | 80 | Nat-Gas | 2013 | Outside
Item 85 | MCMO | 110025480 | Brook Haven Elementary | 461 | 250 | Generac | 95A01436-S | 2019526 | 20 | Nat-Gas | 1995 | Outside, generator pad
Item 86 | MCMO | 110040679 | Burning Tree Elementary | 524 | 400 | Generac | QT04554KVSNA | 470470 | 45 | Nat-Gas | 2007 | Generator Pad
Item 87 | MCMO | 110080845 | Cabin John Middle | 627 | 594 | Generac | SG0130KG036.8N3 | OHPSYE(2108170) | 130 | Nat-Gas | 2010 | Outside by loading dock
Item 88 | MCMO | 110074267 | Carderock Springs Elementary | 627 | 594 | Cummings | GGHH-1458081 | J090050743 spec J | 125 | Nat-Gas | 2009 | Outside on generator pad
Item 89 | MCMO | 110065531 | CESC | 1032 | 1050 | Cummings | DSHAD-7508006 | K080223814 | 400 | Diesel | 2000 | Outside on lower generator pad
Item 90 | MCMO | 110065532 | CESC | 1032 | 1050 | Detroit Diesel | 400DSE | 2029423 | 400 | Diesel | 2009 | Outside on lower generator pad
Item 91 | MCMO | 110000948 | Chevy Chase Elementary | 753 | 814 | Generac | 20A01090-S | 2055640 | 230 | Nat-Gas | 2000 | E Side
Item 92 | MCMO | 110056735 | Churchill High | 627 | 491 | Kohler | 80RZ | 671980 | 80 | Nat-Gas | 2000
Item 93 | MCMO | 110040874 | Cold Spring Elementary | 524 | 491 | Kohler | 50RZGB | 2169026 | 50 | Nat-Gas | 2007 | Outside, chiller pad
Item 94 | MCMO | 110062608 | College Gardens Elementary | 753 | 814 | Generac | 7740310100 | 2092327 | 206 | Nat-Gas | 2007 | Outside, Cooling Tower Pad
Item 95 | MCMO | 110062609 | College Gardens Elementary | 524 | 400 | Generac | QTO4554KNSNA | 4713946 | 45 | Nat-Gas | 2007 | Outside, Cooling Tower Pad
Item 96 | MCMO | 110065567 | Concord Center | 524 | 400 | Generac | 9413280300 | 2096784 | 35 | Nat-Gas | 2008 | Outside on Generator Pad
Item 97 | MCMO | 110046807 | Earl B. Wood Middle | 536 | 400 | Onan | CGFE-4955199 | 8010206527 | 42 | Diesel | 2000 | Ouside, chiller pad
Item 98 | MCMO | 110087788 | Ewing Ctr. | 524 | 400 | Elliot | 30RN | B407J59Z | 30 | Nat-Gas | 2003 | Boiler Room
Item 99 | MCMO | 110027078 | Fallsmead Elementary | 627 | 594 | Kohler | 125RZG | 2193927 | 125 | Nat-Gas | 2008 | Outside in Old Cooling Tower Yard
Item 100 | MCMO | 110083692 | Farmland Elementary | 753 | 594 | Generac | 12828400200 | 2109561 | 150 | Nat-Gas | 2011 | Outside
Item 101 | MCMO | 110021952 | Flower Valley Elementary | 524 | 400 | Generac | 96A05564S | 2025596 | 30 | Nat-Gas | 1995 | Chiller pad
Item 102 | MCMO | 110083163 | Garrett Park Elem | 524 | 491 | Cummings | GGHF-7793881 | 110245980 | 70 | Nat-Gas | 2011
Item 103 | MCMO | 110083624 | Harmony Hills Elem | 524 | 400 | Kohler | 30RZ72 | 185093 | 30 | Nat-Gas | 1998 | Outside, chiller pad
Item 104 | MCMO | 110090520 | Hoover Middle | 753 | 814 | Generac | 14266060200 | 2115667 | 230 | Nat-Gas | 2012 | Outside
Item 105 | MCMO |  | Julius West Middle | 627 | 594 | Kohler | 125REZGC | 3367GMGL0002 | 125 | Nat-Gas | 2019
Item 106 | MCMO | 110118437 | Kensington/Parkwood Elementary | 627 | 594 | Generac | 4535940100 | 2084176 | 125 | Nat-Gas | 2006 | Outside, chiller pad
Item 107 | MCMO | 110018005 | Lakewood Elem | 524 | 400 | Generac | 2940960100 | 2071083 | 35 | Nat-Gas | 2003 | Chiller pad
Item 108 | MCMO | 110065538 | Lincoln Ctr. Print Shop | 461 | 250 | Onan | 300-2860-01 | 2068919 | 7.5 | Nat-Gas | 1995 | Rear of warehouse
Item 109 | MCMO |  | Lincoln Ctr. Warehouse |  | 594 |  |  |  | 150
Item 110 | MCMO | 110036992 | Loiederman Middle | 524 | 400 | Kohler | 45RZ | 688553 | 45 | Nat-Gas | 1999 | Outside, generator pad
Item 111 | MCMO | 110021855 | Lucy V. Barnsley Elem | 524 | 400 | Generac | 98A00675-S | 2040028 | 35 | Nat-Gas | 1997 | Generator pad
Item 112 | MCMO | 110116263 | Luxmanor Elem | 753 | 594 | Kohler | 150REZGC | 337DGMGL0002 | 150 | Nat-Gas | 2019 | Outside by tractor room
Item 113 | MCMO | 110135310 | Maryvale Elem | 834 | 859 | Kohler | 300REZXB | 33D3GMGH0001 | 300 | Nat-Gas | 2020 | Outside near trash room
Item 114 | MCMO | 110092829 | Meadow Hall Elem | 627 | 491 | Kohler | 80REZGD | SGM325WHJ | 80 | Nat-Gas | 2013 | Exterior near boiler room
Item 115 | MCMO | 110065705 | Mid County Maintenance Operations | 524 | 491 | Kohler | 60RZ | 672041 | 60 | Nat-Gas | 1999 | Outside
Item 116 | MCMO | 110065557 | N. Chevy Chase Elem | 627 | 491 | Kohler | 100REZ6D | SGM32B4LW | 100 | Nat-Gas | 2014 | Outside Pad
Item 117 | MCMO | 110051884 | N. Bethesda Middle | 524 | 400 | Generac | 98A06122-S | 2040028 | 45 | Nat-Gas | 1998 | Outside, generator pad
Item 118 | MCMO | 110068286 | North Lake Center | 627 | 491 | MTU | 10V0068GS100 | 94070600004 | 100 | Nat-Gas | 2014 | Boiler Room
Item 119 | MCMO | 110063766 | Parkland Middle | 627 | 491 | Generac | 6723820200 | 208130 | 100 | Nat-Gas | 2007 | 9
Item 120 | MCMO | 110132705 | Potomac Elem | 960 | 859 | Generac | SG350 | 3005059961 | 350 | Nat-Gas | 2019 | Outside by cooling tower
Item 121 | MCMO | 110095926 | Radnor Center | 627 | 491 | MTU | MTU10V0068 GS100 | 94070600004 | 100 | Nat-Gas | 2014 | Outside rear
Item 122 | MCMO | 110062166 | Richard Montgomery High | 1162 | 1921 | Cummings | BS5000625GFJB | AA05149998 | 625 | Nat-Gas | 2005 | Outside generator pad
Item 123 | MCMO | 110020704 | Ritchie Park Elem | 524 | 400 | Generac | 96AO5663S | 2031151 | 30 | Nat-Gas | 1995 | Chiller pad
Item 124 | MCMO | 110050339 | Robert Frost Middle | 524 | 400 | Generac | 94AO3531-S | 2014535 | 30 | Nat-Gas | 1994
Item 125 | MCMO | 110095007 | Rock Creek Forest Elementary | 753 | 594 | Kohler | 150REZGC | SGM329HTN | 150 | Nat-Gas | 2004 | Outside by Storage 177
Item 126 | MCMO | 110068250 | Rock Terrace High | 627 | 491 | Kohler | 100RE2GD | SGYM326RP7 | 100 | Nat-Gas | 2014 | Outside Main Electrical Room
Item 127 | MCMO | 110022202 | Rockcreek Valley Elementary | 524 | 400 | Kohler | 35RZG | 701023 | 35 | Nat-Gas | 2002 | nw wall
Item 128 | MCMO | 110015166 | Rockville High | 834 | 814 | Kohler | 250RZD | 770282 | 250 | Nat-Gas | 2004 | Chiller pad
Item 129 | MCMO | 110113846 | Rosemary Hills Elementary | 627 | 491 | MTU | MTU10V0068 GS100 | 94070500406 | 100 | Nat-Gas | 2018 | Outside of boiler room
Item 130 | MCMO | 110044863 | Sargent Shriver Elementary | 753 | 594 | Cummings | GGLB-5757675 | D060913499 | 150 | Nat-Gas | 2007 | Outside, generator pad
Item 131 | MCMO | 110081118 | Seven Locks Elementary | 753 | 594 | Generac | 13266520100 | 2111729 | 150 | Nat-Gas | 2011 | Outside
Item 132 | MCMO | 110115520 | Silver Creek MS | 960 | 859 | KOHLER | 433NSL8019 | MT-0039867-1116 | 350 | Nat-Gas | 2016 | In Fenced Area by Cooling Tower
Item 133 | MCMO | 110002314 | Somerset Elementary | 627 | 491 | Kohler | 100GSG | 2001213 | 100 | Nat-Gas | 2006 | Ne corner
Item 134 | MCMO | 110076342 | Stonemill Elementary | 627 | 491 | Kohler | 80REZGB | 234228 | 80 | Nat-Gas | 2011 | generator room
Item 135 | MCMO | 110116256 | Thomas Edison HS | 834 | 814 | GENERAC | SGO250KG20142518HPNLE | 3002919073 |  | Nat-Gas | 2018 | Out back, lower lot
Item 136 | MCMO | 110079676 | Thomas W. Pyle Middle | 627 | 491 | Kohler | 100RZG | 2207176 | 100 | Nat-Gas | 2008 | Outside on generator pad
Item 137 | MCMO | 110135249 | Tilden Center | 524 | 400 | Kohler | 30EK-4XR8/1562 | 1269156089 | 30 | Nat-Gas | 1969
Item 138 | MCMO | 110135249 | Tilden Middle | 834 | 859 | Kohler | 300 GM300REZXC | 33D4GMGJ0002 | 300 | Nat-Gas | 2019 | Outside by cooling tower
Item 139 | MCMO | 110076094 | Travilah Elementary | 627 | 594 | Kohler | 125RZG | 2207175 | 125 | Nat-Gas | 2008
Item 140 | MCMO | 110020531 | Twinbrook Elementary | 524 | 400 | Kohler | 35RZG | 667903 | 35 | Nat-Gas | 2000 | Generator pad
Item 141 | MCMO | 110095943 | Viers Mill Elementary | 627 | 491 | MTU | MTU10V0068 GS100 | 94070600147 | 100 | Nat-Gas | 2015 | Outside fenced area
Item 142 | MCMO | 110054560 | Walt Whitman High | 627 | 594 | Kohler | 135RZ272 | 283531 | 135 | Nat-Gas | 1991 | Room By Boiler Room, Generator Rm
Item 143 | MCMO | 110073980 | Walter Johnson HS #1 | 753 | 814 | Generac | 2414340100 | 2067875 | 200 | Nat-Gas | 2006 | Fenced Area Next to Chiller
Item 144 | MCMO | 110073673 | Walter Johnson HS #2 | 834 | 814 | Generac | 9913810100 | 2099016 | 250 | Nat-Gas | 2008 | Outside Boiler Room 110073160
Item 145 | MCMO | 110117729 | Wayside ES | 627 | 594 | Kohler | 200REZXB | SGM32J92X | 130 | Nat-Gas | 2017 | Outside
Item 146 | MCMO | 110090291 | Weller Road Elementary | 627 | 594 | Kohler | 125REZGC | SGM324T9F | 125 | Nat-Gas | 2013 | Outside by trash room
Item 147 | MCMO | 110099090 | Westbrook Elementary | 753 | 814 | Kohler | 180REZXB | SGM3253KH | 190 | Nat-Gas | 2012 | Outside by trash room
Item 148 | MCMO | 110021469 | Westland Middle | 524 | 400 | Spectrum | 35GS60 | 379822 | 35 | Nat-Gas | 1998 | Outside equip pad
Item 149 | MCMO | 110099779 | WHEATON HS | 1477 | 1966 | CATERPILLAR | G3516 | SB300153 | 1040 | Nat-Gas | 2015 | Outside
Item 150 | MCMO | 110100034 | WHEATON HS | 753 | 814 | OLYMPIAN | G1500L62 | GXC03232 | 200 | Nat-Gas | 2015 | Outside back of school
Item 151 | MCMO | 110117581 | Wheaton Woods | 960 | 859 | Generac | SG0350KG30219N18HPYYE | 3001610080 |  | Nat-Gas | 2017
Item 152 | MCMO | 110045749 | Wood Acres Elem | 524 | 400 | Kohler | 35RZG | 729710 | 39 | Nat-Gas | 2002 | 210
Item 153 | MCMO | 110019640 | Wootton High | 524 | 400 | Onan | 30EKL344135 | 0646A-20-RM | 30 | Nat-Gas | 1990 | Room By 110019167 Electrical Room 11
Item 154 | MCMO | 110100117 | Wyngate Elem | 627 | 491 | Kohler | 80REZGO | SGM322HKB | 80 | Nat-Gas | 2012 | Outside, chiller pad
Item 155 | UCMO | 110113417 | Baker Middle | 627 | 594 | MTU | MTU 10V0068 GS125 | 94070500408 | 125 | Nat-Gas | 2018 | Outside
Item 156 | UCMO | 110115896 | Brown Station ES | 753 | 594 | Generac | SG150 | 3001224250 | 150 | Nat-Gas | 2017 | Outside on Generator Pad
Item 157 | UCMO | 110095292 | Candlewood Elementary | 753 | 594 | Kohler | 150REZGC | SGM329HTM | 150 | Nat-Gas | 2014 | Behind Trash Room Area
Item 158 | UCMO | 110123608 | Carson Elementary | 627 | 491 | MTU | MTU 10V0068 GS125 | 94070500852 | 100 | Nat-Gas | 2019 | Outside, Generator Pad
Item 159 | UCMO | 110071715 | Cashell Elementary | 753 | 594 | Generac | 10774510100 | 2101814 | 175 | Nat-Gas | 2009 | Outside on Generator Pad
Item 160 | UCMO | 110085351 | Cedar Grove Elementary | 524 | 400 | Generac | 12670550100 | 2108989 | 40 | Nat-Gas | 2011 | Outside, Chiller Yard
Item 161 | UCMO | 110076101 | Clarksburg Elementary | 753 | 594 | Kohler | 30RZ282 | 318609 | 150 | Nat-Gas | 1994 | Generator Pad
Item 162 | UCMO | 110076101 | Clarksburg High | 753 | 594 | Generac | 4871980300 | 2084437 | 175 | Nat-Gas | 2005 | Generator pad
Item 163 | UCMO | 110105700 | Clearspring Elementary | 627 | 491 | Kohler | 100REZGD | SGN32KJ63 | 100 | Nat-Gas | 2017 | Outside Fence Area
Item 164 | UCMO | 110113736 | Clemente Middle | 627 | 594 | MTU | MTU 10V0068 GS125 | 94070500418 | 125 | Nat-Gas | 2018 | Outside, Chiller Pad
Item 165 | UCMO | 110113718 | Clopper Mill Elementary | 627 | 491 | MTU | MTU 10V0068 GS100 | 94070500408 | 100 | Nat-Gas | 2018 | Outside
Item 166 | UCMO | 110105719 | Daly Elementary | 627 | 491 | Kohler | 100REZGD | SGM32KJ4S | 100 | Nat-Gas | 2017 | Outside By Receiving
Item 167 | UCMO | 110076258 | Damascus Elementary | 524 | 491 | On site Energy | 60PGCNLT1 | 320556 | 60 | Nat-Gas | 2010 | Main Electrical Room
Item 168 | UCMO | 110008055 | Damascus High | 524 | 400 | Generac | 94A01202S | 2011854 | 30 | Nat-Gas | 1994 | Outside, E Emer Generator Yard
Item 169 | UCMO | 110075464 | Darnestown Elementary - Pump House | 753 | 594 | Generac | G150LG2 | GXC01530 | 150 | Nat-Gas | 2012 | Pump House
Item 170 | UCMO | 110092762 | Darnestown Elementary | 627 | 594 | Kohler | 125REZG8 | SGM323HFD | 128 | Nat-Gas | 2012 | Outside Back of School
Item 171 | UCMO | 110113727 | Diamond Elementary | 627 | 491 | MTU | MTU 10V0068 GS100 | 94070500409 | 100 | Nat-Gas | 2018 | Outside
Item 172 | UCMO | 110095607 | Emory Grove Center | 627 | 491 | MTU | MTU 10V0068 | 9407060003 | 100 | Nat-Gas | 2014 | Outside of Boiler Room
Item 173 | UCMO | 110075466 | Fields Road Elementary | 524 | 491 | Onoan Cummings | GGHE5794913 | C070040664 | 60 | Nat-Gas | 2007 | Outside
Item 174 | UCMO | 110105729 | Flower Hill ES | 627 | 491 | Kohler | 100REZGD | SGM32KJ5X | 100 | Nat-Gas | 2017 | Outside, Generator Pad
Item 175 | UCMO | 110098836 | Food Service | 570 | 814 | Onoan Cummings | DSGAE1401294 | D140667183 | 200 | Diesel | 2014 | Emergency Electric Room
Item 176 | UCMO | 110097791 | Food Service Gen-1 | 960 | 1020 | Onoan Cummings | 450GFGA | M14C123026 | 450 | Nat-Gas | 2014 | Generator Room
Item 177 | UCMO | 110097792 | Food Service Gen-2 | 960 | 1020 | Onoan Cummings | 450GFGA | M14C123025 | 450 | Nat-Gas | 2014 | Generator Room
Item 178 | UCMO | 110028398 | Forest Oak Middle | 524 | 400 | Generac | 98AO3633S | SG060K367 | 30 | Nat-Gas | 1998 | B126
Item 179 | UCMO | 110105710 | Fox Chapel Elementary | 627 | 491 | MTU | MTU 10V0068 GS100 | 9470600496 | 100 | Nat-Gas | 2017 | Outside Fence Area
Item 180 | UCMO | 110012963 | Gaithersburg Elementary | 524 | 400 | Onoan Cummings | GGFC4485626 | H00138628 | 45 | Propane | 2000 | Outside building next to chillers
Item 181 | UCMO | 110076000 | Gaithersburg Middle | 627 | 491 | Generac | QT10068GNSNA | 508555 | 100 | Nat-Gas | 2008 | Outside building next to chillers
Item 182 | UCMO | 110076251 | Germantown Elementary | 524 | 491 | Kohler | 60REZG | 2298837 | 60 | Nat-Gas | 2010 | Outside Boiler Room
Item 183 | UCMO | 110091538 | GHS Gen on left-gate | 834 | 814 | Generac | 13862630300 | 2114244 | 250 | Nat-Gas | 2012 | 1132 Mechanical Yard Outside
Item 184 | UCMO | 110091537 | GHS Gen on righ-gate | 834 | 814 | Generac | 13862630300 | 2114245 | 250 | Nat-Gas | 2012 | 1132 Mechanical Yard Outside
Item 185 | UCMO | 110079407 | GHS J-Wing | 524 | 400 | Detroit Diesel | 35GSG | 2092343 | 39 | Nat-Gas | 2006 | Outside of Boiler Room 1084
Item 186 | UCMO | 110072834 | Gibbs Elementary | 627 | 594 | Kohler | 125RZG | 2228960 | 125 | Nat-Gas | 2008 | On Generator Pad
Item 187 | UCMO | 110113709 | Goshen Elementary | 627 | 491 | MTU | MTU 10V0068 GS100 | 94070500410 | 100 | Nat-Gas | 2018 | Outside
Item 188 | UCMO | 110026799 | Great Seneca Elementary | 627 | 594 | Kohler | 125RZG | 2076162 | 125 | Nat-Gas | 2005 | Outside, Generator Pad
Item 189 | UCMO | 110123603 | Jones Lane Elementary | 627 | 594 | MTU | MTU 10V0068 GS125 | 94070500855 | 125 | Nat-Gas | 2019 | Outside
Item 190 | UCMO | 110029225 | King Middle | 524 | 400 | Kohler | 30RZ82 | 368238 | 30 | Nat-Gas | 1996 | Outside, Generator Pad W
Item 191 | UCMO | 110027718 | Kingsview Middle | 524 | 400 | Kohler | 35R272 | 382264 | 35 | Nat-Gas | 1996
Item 192 | UCMO | 110011447 | Lake Seneca Elementary | 461 | 250 | Generac | 98A02043S | 2041220 | 20 | Propane | 1998 | Sw Side Bldg
Item 193 | UCMO | 110064499 | Lakeland Elementary | 524 | 400 | Kohler | 60RZG | 2024128 | 35 | Nat-Gas |  | Rm 101gg Gen Rm, Overhead
Item 194 | UCMO | 110096066 | Laytonsville ES | 753 | 594 | MTU | MTU MTU6R0135 GS100 | 94100600069 | 150 | Nat-Gas | 2016 | Outside
Item 195 | UCMO | 110027078 | Little Bennett Elementary | 627 | 594 | Kohler | 125RZG | 2066066 | 125 | Nat-Gas | 2005 | Outside, Generator Pad
Item 196 | UCMO | 110054957 | Magruder High | 524 | 400 | Generac | 93A03838S | 2009496 | 30 | Nat-Gas | 1993 | Room By Boiler Room, Elec Rm
Item 197 | UCMO | 110016442 | Marhsall Elementary | 627 | 491 | Kohler | 80RZ82 | 18733982N | 80 | Nat-Gas | 1992
Item 198 | UCMO | 110028010 | Matsunaga Elementary | 524 | 491 | Katolight | N70FRG4 | LM359778 | 64 | Nat-Gas | 2000 | Outside, Generator Pad
Item 199 | UCMO | 110095929 | McAuliffe Elementary | 627 | 594 | Kohler | 100REZGD | 2298754 | 125 | Nat-Gas | 2015 | Outside by Boiler Room
Item 200 | UCMO | 110123787 | McNair Elementary | 627 | 491 | Kohler | 100REZQD | 3349GMGK0004 | 100 | Nat-Gas | 2019 | Outside
Item 201 | UCMO | 110042337 | Mill Creek Elementary | 524 | 400 | Generac | 20A00547S | 2055119 | 30 | Nat-Gas | 2000 | Outside, Chiller Pad
Item 202 | UCMO | 110009008 | Monocacy Elementary | 524 | 491 | Generac | 2614490100 | 2068910 | 50 | Propane | 2002 | N Wall
Item 203 | UCMO | 110029784 | Montgomey Village Middle | 524 | 491 | Generac | 2779280100 | 2070099 | 50 | Nat-Gas | 2002 | Outside By Aux. Gym 1, Generator Pad
Item 204 | UCMO | 110096104 | Neelsville MS | 627 | 594 | MTU | MTU 10V0068 GS125 | 9470600265 | 125 | Propane | 2016 | Outside
Item 205 | UCMO | 110056093 | Northwest High | 627 | 491 | Generac | 97A04502S | SG100K367 | 100 | Nat-Gas | 1997 | Outside, Cooling Tower Pad
Item 206 | UCMO | 110021205 | Poole Middle | 524 | 400 | Kohler | 30RZ272 | 383719 | 30 | Nat-Gas | 1998 | Equip Yard By Mechanical
Item 207 | UCMO | 110092854 | Poolesville Elementary | 627 | 491 | Kohler | 80REZGD | SGM326RP6 | 80 | Nat-Gas | 2013 | Exterior of Boiler Room
Item 208 | UCMO | 110079256 | Poolesville High | 524 | 491 | Kohler | 60RZG | 2238031 | 60 | Nat-Gas | 2008 | Outside
Item 209 | UCMO | 110010137 | Poolsville High | 524 | 400 | Onoan Cummings | 45OEM15R9846H | J760173953 | 45 | Propane | 1977 | W Wall
Item 210 | UCMO | 110053214 | Quince Orchard High | 627 | 594 | Detroit Diesel | 130PGS6N | 154357-1007 | 130 | Nat-Gas | 2010
Item 211 | UCMO | 110113857 | Redland Middle | 753 | 594 | MTU | MTU 6R0135 GS 150 | 94100500123 | 150 | Nat-Gas | 2018 | Outside
Item 212 | UCMO | 110038864 | Resnik Elementary | 524 | 400 | Generac | 90A03043S | 993339 | 30 | Propane | 1990 | 57
Item 213 | UCMO | 110012450 | Ride Elementary | 524 | 400 | Generac | 94A02890S | 2013658 | 30 | Nat-Gas | 1994 | N Wall
Item 214 | UCMO | 110076327 | Ridgeview Middle | 627 | 491 | Kohler | 100REZG | 3015638 | 90 | Nat-Gas | 2011 | Outside Mech. Room / Bricked in enclosure
Item 215 | UCMO | 110013109 | Rockwell Elementary | 627 | 491 | Onoan Cummings | GGHG5690516 | H040682751 | 85 | Nat-Gas | 2004 | Outside Equipment Yard
Item 216 | UCMO | 110014498 | Rocky Hill Middle | 524 | 491 | Kohler | 60RZG | 771803 | 60 | Nat-Gas | 2003 | Room By N Mechanical Room, Gen. Rm
Item 217 | UCMO | 110044022 | Rosemont Elementary | 627 | 491 | Detroit Diesel | 80GSG | 2017801 | 81 | Nat-Gas | 2004 | Outside, Generator Pad
Item 218 | UCMO | 110122051 | Seneca Valley | 834 | 859 | Generac | SG300 | SG0300KG20142S18PPLYE | 300 | Nat-Gas | 2020 | Outside by Boiler Room
Item 219 | UCMO | 110022642 | Sequoyah Elementary | 524 | 491 | Onoan Cummings | 60ENL33466E | D900311297 | 60 | Nat-Gas | 1990 | Generator Rm
Item 220 | UCMO | 110038163 | SGD Clarksburg? | 524 | 400 | Onoan Cummings | 450EM15R17133F | G760150568 | 45 | Nat-Gas | 1977 | SW END
Item 221 | UCMO | 110101605 | Shady Grove Middle | 524 | 400 | Generac | 94A04820S | CG030K365 | 45 | Nat-Gas | 1994 | B126 Boiler Room
Item 222 | UCMO | 110090316 | Smith Center | 627 | 491 | Kohler | 100REZG | 2340294 | 95 | Propane | 2011 | Outside by Kitchen
Item 223 | UCMO | 110013866 | Southlake Elementary | 524 | 400 | Onoan Cummings | GGFD5703254 | A050739641 | 35 | Nat-Gas | 2005 | E Generator Pad
Item 224 | UCMO | 110070121 | Stedwick Elementary | 753 | 594 | Kohler | 100REZGD | 2195503 | 150 | Nat-Gas | 2008 | Outside New Boiler Room
Item 225 | UCMO | 110123646 | Strawberry Knolls Elementary | 627 | 491 | Kohler | 100REZGD | 3349GMGK0023 | 100 | Propane | 2019 | Outside
Item 226 | UCMO | 110004128 | Summit Hall Elementary | 461 | 250 | Generac | 98A02048S | 2041225 | 20 | Nat-Gas | 1998 | S Wall
Item 227 | UCMO | 110079947 | Washington Grove Elementary | 753 | 594 | Generac | 9794860300 | 2098549 | 150 | Nat-Gas | 2008 | Outside Fenced in Area
Item 228 | UCMO | 110123796 | Waters Land Elementary | 627 | 491 | Kohler | 100REZGD | 3349GMGL0002 | 100 | Nat-Gas | 2019 | Outside
Item 229 | UCMO | 110030554 | Watkins Mill Elementary | 627 | 491 | Onoan Cummings | GGHG5747151 | A060870345 | 85 | Nat-Gas | 2006 | Outside, Generator Pad
Item 230 | UCMO | 110068945 | Watkins Mill High | 834 | 859 | On site Energy | GS00260N6SRA | 349632 | 260 | Nat-Gas | 2011 | Generator Yard
Item 231 | UCMO | 110103706 | Wells, Hallie MS | 753 | 814 | Kohler | 180REZXB | SGM32G3XC | 190 | Nat-Gas | 2016 | Outside by Trash Room
Item 232 | UCMO | 110075465 | Whetstone Elementary | 627 | 491 | Kohler | 100REZG | 2298754 | 100 | Nat-Gas | 2010 | Outside
Item 233 | UCMO | 110094562 | Wilson Wims Elementary | 627 | 594 | Kohler | 125REZGC | SGM329HSG | 125 | Nat-Gas | 2014 | Outside by Receiving Area
Item 234 | UCMO | 110096058 | Woodfield ES | 627 | 491 | MTU | MTU 10V0068 GS100 | 9470600266 | 100 | Nat-Gas | 2016 | Outside
|  |  |  | 145281 | 126281
594
|  |  |  | 145875 | 126281