Office of Finance

## **MONTGOMERY COUNTY PUBLIC SCHOOLS**

Division of Procurement, Suite 3100

45 West Gude Drive

# **Rockville, Maryland 20850**

Request for Proposal #9472.1  
EMERGENCY RESPONDER 2-WAY RADIO AMPLIFICATION SYSTEM

**1.0 INTENT**

The purpose of this Request For Proposal (RFP) is to prequalify multiple vendors for services of a BDA (bi-directional amplifier) system, experienced in the “turn-key” design, installation, testing and commissioning of 2-Way Radio Communications Enhancement Radio Amplification Systems in Montgomery County, Maryland. The installed system shall be compliant with the most current Montgomery County Department of Permitting Services Standard, included as exhibit A (2018 version). The integrator shall assume responsibility for using the most current version of the County Standard. This is a completely turn-key procurement and includes all work that required by related trades such as electrical, fire alarm, core drilling, roof penetrations, etc., etc. for a fully functioning and Montgomery County code-compliant system.

**2.0**  **INTRODUCTION**

Montgomery County Public Schools (MCPS) is the 14th largest school system in the United States, and the largest in the state of Maryland. During the 2022-2023 school year, MCPS served more than 160,000 students from 157 countries speaking 150 languages. With a Fiscal Year (FY) 2021 Operating Budget of approximately $2.76 billion, MCPS employs more than 24,500 employees. Among the 210 schools that MCPS operates, 42 are National Blue-Ribbon schools. Six MCPS high schools rank in the top 200 of The Washington Post’s 2015 High School Challenge, and all 25 MCPS high schools appear on this list, which only includes the top 11 percent of high schools in the country. MCPS has one of the highest graduation rates among the nation’s largest school districts, according to an Education Week report. In 2010, MCPS was the recipient of the Malcolm Baldrige National Quality Award, the highest presidential honor given to American organizations for performance excellence. The student demographics of MCPS in 2022-2023 are as follows:

Hispanic/Latino: 34.6%

White: 24.4%

Black or African American: 21.8%

Asian: 13.9%

Two or more races: ≤ 5.1%

American Indian or Alaskan Native: ≤5.0%

Native Hawaiian or other Pacific Islander: ≤5.0%

Students receiving free & reduced-price meals (FARMS): 33.3%

English for Speakers of Other Languages (ESOL): 18.2%

Students receiving special education services: 11.7%

In alignment with our strategic priorities, MCPS believes that each and every student matters; outcomes should not be predictable by race, ethnicity, or socioeconomic status; equity demands the elimination of all gaps; and creating and maximizing future opportunities for students and staff is necessary. Therefore, MCPS holds high expectations for all students and staff; distributes resources as necessary to provide extra supports and interventions so all students can achieve; identifies and eliminates any institutional barriers to students’ success; and ensures that equitable practices are used in all classrooms and workplace.

MCPS also believes that we must engage every student, every day; learning is achieved by cultivating curiosity and encouraging determination, focus, and hard work; and adult learning and engagement are key to student learning. Therefore, MCPS encourages and support critical thinking, problem solving, active questioning, and risk taking to continuously improve; stimulate discovery by engaging students in relevant and rigorous academic, social, and emotional learning experiences; and challenge ourselves to analyze and reflect upon evidence to improve our practices.

MCPS is focused on ensuring that all students receive the same level of opportunities to learn. With the advent of more rigorous standards for college and career readiness in recent years, the rollout of the Next Generation Science Standards, and new assessments aligned to these standards, there is great potential to focus teaching and learning on what all students need to know and be able to do to thrive in college, careers, and life in a global society. Whereas these standards and curricula serve as an important force in getting all students—not just some—to the highest levels of attainment, access to hands-on, outside of the classroom experiences must be expanded to serve under represented populations.

1. **SCOPE OF SERVICES**

3.1 EMERGENCY RESPONDER 2-WAY RADIO AMPLIFICATION SYSTEM:

A. General: The BDA components required by this system include class B, NEMA 4, Bi-Directional Amplifiers (BDA), a 12-hour Battery Back-up system, Donor Antennas, Coverage Antennas, Coax Cable, Coax Connectors, Splitters, Combiners, Directional Couplers and similar devices. Quantities and locations of antennas and devices shall be as determined by the BDA design.

Radio coverage in the building shall meet the minimum required signal strength threshold of -95 dBm and provide this level of coverage in 100% of critical areas, and 95% of all other occupied spaces (International Fire Code (IFC): IFC-510 code). Critical areas are defined as the Emergency Command Center, fire pump room exit stairs and passageways, elevator lobbies, standpipe cabinets, sprinkler sectional valve locations and other areas deemed critical by the Authority Having Jurisdiction (AHJ). Please refer to County Department of Permitting Services (DPS) standard.

B. Qualifications: The integrator shall have, as a fulltime employee a licensed Professional Engineer, registered in the State of Maryland, who shall prepare or approve the BDA design and assume design and testing responsibility of the system. A “Certificate of Radio Coverage Compliance”, as required by the Montgomery County DPS standards, shall be signed and stamped by the licensed P.E. The engineer must have at least 5-years of experience designing, installing and testing public safety radio amplification in compliance with guidelines and requirements established DPS (Exhibit A)

C. Signal Strength Survey: The RF site survey report for each facility included in the bid shall be used for the design of the system.

D. Permits: The selected BDA vendor and/or his subcontractors shall be responsible for obtaining all required permits for the complete installation and performance of the amplification system. At a minimum this includes all electrical and fire alarm permits.

E. Submittals: The scope or work includes preparation of BDA submittals consisting of, at a minimum, a complete BDA design including riser diagram, floor plans showing the location of antennas and components, Up-link and Down-link budgets, propagation prediction modeling and equipment technical data sheets for a fully code compliant in-building amplification system. Submittals shall be used for permitting purposes and shall be submitted to the MCPSS contracting officer or his representative as required by the contract documents. Drawings, submitted to the Fire Marshall, AHJ or permitting office, will be in compliance with the required regulations.

F. Alarming: The radio enhancement system shall have alarm functionality as required by Montgomery County DPS. A dedicated alarm monitor panel to be mounted in the fire alarm control panel (FACP) room. The contactor shall work with school’s fire alarm system contractor for connection of BDA alarms into the school’s fire alarm system

G. Electrical Work: Most of the schools has an emergency generator. However, most emergency panels are 277 VAC and spare breakers may or may not be available in the room selected to house the BDA equipment. It is the DBDA vendor to conduct the necessary survey to determine what electrical components will be required for compliance with county requirements. Any transformer, circuit breaker, wiring and outlets required for the compliant design of the BDA system shall be included in the BDA scope and price.

H. Roof, Floor and Wall Penetrations and/or Core Drilling: Included in this scope of work are any tasks and costs associated with the installation of the donor antenna. If the integrator can’t find existing roof floor or wall penetrations, he shall be responsible for all cores drilling and contracting with a roofing company acceptable to the contracting officer representatives to perform the work in accordance with MCPS requirements. If permits are required for the work, this too shall be included in the scope and price.

1. All contractors that will be using replacement building materials in schools (i.e., ceiling tiles, floor tiles, mastic, glues, sheet flooring, acoustical soundproofing, plaster, wallboard compound, etc) must submit a laboratory analysis report that verifies that these replacement products do not contain asbestos. This report should be submitted at the time of bid submittal and once a year thereafter, or when there is a change in materials or material supplier. The laboratory must be a member of the National Voluntary Laboratory Accreditation Program (NVLAP). A list of these laboratories can be found at [Touchstone: Accreditation & Assessment Management System - Customer Portal (nist.gov)](https://www-s.nist.gov/niws/index.cfm?event=directory.search#no-back)

J. Testing: Post installation, he testing shall be performed in accordance with the current county/AHJ requirements. Test reports shall show compliance with the -95 dBm minimum signal strength requirement as indicated above and shall be signed by the licensed engineer registered in the State of Maryland as required by DPS. Final testing shall include the entire school building including all expansions and additions, as required by the AHJ.

K. Project close-out documentation. A complete and accurate set of as-build documentation shall submitted to the MCPSS representative for review and approval. The close-out documentation shall include a complete and accurate set of as-build drawings, equipment data sheets, along with the DPS required P.E. stamped proof of testing, test reports and radio coverage compliance statement.

* 1. Technical Requirements and Vendor Experience

Vendor shall have 5+ years’ experience in the design, installation, testing, and commission of BDA systems in school facilities. The vendor must be up to date with the latest industry trends and regulations. The vendor must have all relevant license and certifications require to install and test a BDA system. The vendor shall have a licensed Professional Engineer, registered in the State of Maryland.

3.3 Timeline for Implementation and Key Staff

The expected timeline to complete the design, installation, testing, and the commission of a school facility is one month.

**MCPS point of contact**

Nickolas A Fanelli

[Nickolas\_A\_Fanelli@mcpsmd.org](mailto:Nickolas_A_Fanelli@mcpsmd.org)

240-740-2328 office

240-571-0403 mobile

8301 Turkey Thicket Drive

Gaithersburg, MD 20879

3.4 Data Privacy and Security

As specified in more detail in the MCPS General Contract Articles and elsewhere in this RFP, the vendor will comply with all federal, state, and local laws, regulations, and ordinances applicable to this project, including but not limited to the requirements of the Family Educational Rights and Privacy Act (“FERPA”), 20 U.S.C. § 1232g, and its implementing regulations (34 C.F.R. part 99), the Children’s Online Privacy Protection Act (“COPPA”), 15 U.S.C. § 6501-6505, and its implementing regulations (16 C.F.R. § 312, *et seq.*), the Protection of Pupil Rights Amendment, (“PPRA”) 20 U.S.C, § 1232(h) and its implementing regulations (34 C.F.R. § 98.1 et seq.), the Maryland Student Privacy Act of 2015, Md. Ed. Code Ann., §4-131, Code of Maryland Regulations (COMAR) 13A.08, as well as applicable Board of Education policies and MCPS regulations, including but not limited to MCPS Regulation AFA-RA, *Research and Other Data Collection Activities in Montgomery County Public Schools*, MCPS Regulation JOA-RA, *Student Records*, and MCPS Regulation JFF-RA, *Federal Requirements for Use of Protected Student Information*.

3.5. Performance

1. Contractor shall have on the job site at least one person fluent in English.
2. Work to be completed in a timely workmanlike manner; fumes, odors, materials and work procedures will be controlled to protect occupants and property from harm and damage
3. The Contractor shall furnish the services of an experienced supervisor, who shall be in charge of the work and to provide direction to the crew at all times.
4. Contractors and employees:

a. MCPS Identification badges, shall be worn while on the premises.

b. Use of any form of tobacco products, liquor or illegal drugs is not permitted in MCPS buildings and on grounds.

c. Are not to routinely use facility equipment and buildings, i.e., telephone, lounges, toilet rooms, parking lots, etc. The MCPS Project Coordinator will designate such facilities authorized for Contractor use.

1. All work shall be scheduled to the mutual satisfaction of the School Administration and the MCPS Project Coordinator to avoid conflicts with school activities.
2. Building is expected to be occupied throughout the stated period allowed for this work.
3. Work area must be left clean and ready for use after the installation. The Contractor must remove all debris generated by the work from the premises.
4. The Contractor may not assign and/or sub-contract any portion of this contract prior to obtaining written consent from MCPS.
5. Precaution shall be exercised at all times for the protection of persons (including employees) and property.

It is the intention to award to the most favorable respondent(s) based on the evaluation criteria in Section 12.0. However, the Montgomery County Board of Education reserves the right to make awards according to the best interest of MCPS.  This request for proposal may result in multiple awards.

In determining the qualifications of an offeror, MCPS will consider the offeror’s record and performance of any prior contracts with MCPS, federal departments or agencies, or other public bodies, including but not limited to the offeror’s record providing online digital curriculum services to MCPS or other schools or school districts. MCPS expressly reserves the right to reject the proposal of any offeror if the investigation discloses that the offeror, in the opinion of MCPS, has not properly performed such prior contracts or has habitually and without just cause neglected the payment of bills or has otherwise disregarded its obligations to subcontractors or employees.

MCPS may conduct any necessary investigation to determine the ability of the offeror to perform the work, and the offeror shall furnish to MCPS all such information and data requested, such as information about its reputation, past performance, business and financial capability and other factors that demonstrate that the provider is capable of satisfying MCPS’ needs and requirements for a specific contract. MCPS reserves the right to reject any proposal if the evidence submitted by the offeror or investigation of such offeror fails to satisfy MCPS that such offeror is properly qualified to carry out the obligations of the contract and to complete all requirements contemplated therein. Consideration will be given to any previous performance with MCPS as to the quality and the acceptability of bidder’s services.

All offerors submitting a proposal shall include evidence that they maintain a permanent place of business. Copies of any appropriate licenses necessary to perform this work shall be submitted with each proposal. Offerors also shall demonstrate that they have adequate staff to perform the required services. Use of subcontractor(s) and/or third-party providers, if any, must be specifically identified within the proposal. Subcontractor and/or third-party provider roles shall be clearly expressed. MCPS reserves the right to accept or reject use of proposed subcontractor(s) and/or third-party provider(s).

MCPS reserves the right to add or delete Contractors throughout the contract term should MCPS determine, in its sole discretion, that there be a need for additional services not available from the awarded Contractors.

4.0 CONTRACT TERM

The initial term of contract shall be one year as stipulated on the RFP. The contract may not begin until one day after approval by the MCPS Board of Education and will conclude as stated under the contract term. MCPS reserves the right to extend this contract at existing prices, terms and conditions for up to four additional one-year terms. Written notice indicating MCPS’ intention to pursue the extension of the contract will be issued to the successful vendor 90 days prior to the expiration of the original contract. The vendor has ten (10) days from the date of notification to return the notice acknowledging its intent to accept or reject the extension.

Once all responses are evaluated, MCPS staff may make a recommendation to the MCPS Board of Education to extend the contract or decide to rebid. If the contract is extended by the MCPS Board of Education, a contract amendment will be issued.

**5.0 PROVISION FOR PRICE ADJUSTMENT**

Unit prices quoted herein are subject to price adjustment downward in accordance with decreases in prices announced by the manufacturer of the subject item any time prior to award. Recommendations for awards, however, shall be made based on the original price submission only.

Subsequent to award, the unit prices quoted herein are subject to price adjustment upward or downward in accordance with increases or decreases announced by the manufacturer after the contract award. The successful offeror must notify the director of the Division of Procurement of any announced manufacturer’s price reductions and give immediate benefit to MCPS in a proportionate amount.

Price increases will not be considered for the first 180 days of the contract. Thereafter the successful contractor must submit a written request for price relief. The request for a price increase shall include documentation from the manufacturer to verify the basis for such request. MCPS reserves the right to accept or reject the request as may be determined to be in the best interest of MCPS. Any orders received prior to a request for a price increase shall be honored at the original contract price. If the request for a price increase is approved, a contract amendment will be issued.

**6.0 CONTRACT TERMINATION**

MCPS reserves the right to cancel the contract in whole or in part at any time in accordance with Article 12, MCPS General Contract Articles. MCPS also reserves the right to cancel the contract with a specific offeror for failure to comply or failure to fulfill the terms of this contract.

**7.0 REFERENCES**

All offerors shall include a list of a minimum of three references who use the vendors services and can attest to the firm’s quality of work; and, if possible, shall include school districts of comparable size to MCPS that have utilized the respondents’ services. Include names of client, contact person, email address and phone number of all references. Also, as an attachment, offerors shall include al list of all current school district clients.

References may or may not be reviewed or contacted at the discretion of MCPS. Typically, only references of the top ranked short-listed offerors are contacted. MCPS reserves the right to contact references other than, and/or in addition to, those furnished by an offeror.

Contact Phone

Company Name & Address Person Number

1. \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Email­­­­­­­ \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

2. \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Email \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

1. \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Email \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

#### 8.0 FORMAT OF RESPONSE

8.1Response to this RFP shall be submitted in the same order as the RFP and provide an individual response to each RFP specification.

8.2 Contractors shall include any and all statements and representations made within its proposal in the contract for services with the MCPS. This includes, but is not limited to, the vendors’ point-by-point response to this RFP. If the vendor responds only “Understand and comply,” it is assumed that the vendor complies with MCPS’ understanding of the requirement.

8.3 MCPS shall not be responsible nor be liable for any costs incurred by the vendor in the preparation and submission of their proposals and pricing.

8.4 Pricing proposal shall be submitted as a separate document outlining content, timeline for implementation, training, professional development, etc. DO NOT include the pricing proposal with your technical response. This could result in your submission to be non-responsive.

**9.0 MANDATORY SUBMISSIONS**

Each offeror must submit a complete proposal including all required information and attachments. The response shall address each paragraph in the same order as the RFP and provide an individual response to each RFP specification. All proposals must be presented using the same numbering sequence and order used in this RFP document or as otherwise specified by MCPS. Offerors may request the word document via e-mail to Stephanie Dorah, Buyer, MCPS Division of Procurement, at [Stephanie\_J\_Dorah@mcpsmd.org](mailto:Stephanie_J_Dorah@mcpsmd.org) .

One (1) original and one (1) copy as well as one (1) electronic version on flash drive, both original and redacted, and one (1) redacted copy of responses must be sent by mail, courier or hand-delivery and shall be in binders with tabs identifying each section. A table of contents should be included and all pages numbered as referenced in the Table of Contents. No faxes or electronic submission of proposals will be accepted. Proposals are to be received no later than 2:00 p.m. on **October 24, 2023**. Submit responses of the entire RFP proposal to:

Montgomery County Public Schools

###### Division of Procurement

45 West Gude Drive, Suite 3100

Rockville, MD 20850

Submissions will become the property of MCPS.

The proposal must be signed by an official having authority to contract with MCPS. The firm and the official’s name shall be used in the contract process. MCPS reserves the right to make an award without further discussion of the proposals received. MCPS may also negotiate with the one offeror who submits the best proposal or with two or more offerors who are in the competitive range. Therefore, it is important that the offeror’s proposal be submitted initially on the most favorable terms from both the technical and cost standpoints. After the submission and closure of proposals, no information will be released until after the award. It is understood that the offeror’s proposal will become a part of the official file on this matter without obligation to MCPS.

The proposal must be complete and comply with all aspects of these specifications. Marketing or promotional verbiage will likely overshadow the offeror’s qualifications and expertise. MCPS urges the offeror to be specific and brief in their responses.

Offerors must include any and all statements and representations made within its proposal in the contract for services with MCPS unless otherwise agreed upon by MCPS and offeror during negotiations. This includes, but is not limited to, the vendor’s point-by-point response to this RFP. If offeror answers only “Understand and comply” it is assumed that the offeror complies with MCPS’ understanding of the requirement.

MCPS shall not be responsible or liable for any costs incurred by the offeror in the preparation and submission of their proposals and pricing.

**Complete Response must include:**

* Point-by-point Response to each section of the RFP
* Pricing Proposal
* References, See 7.0 References, including current school district clients
* Vendor’s annual fiscal report in order to demonstrate the vendor’s financial stability (If desired, the vendor may also include any other financial documents that Vendor wishes to include regarding Vendor’s financial condition. This documentation is not mandatory.)
* Equal Opportunities Certification (Attachment A)
* Certification of Non-segregated Facilities (Attachment B)
* Minority Business Enterprise (Attachment C)
* Non-Debarment Acknowledgement (Attachment D)
* Mid-Atlantic Purchasing Team Rider Clause (Attachment E)
* Online Data Resource Form (Attachment F)
* Current Form W-9
* A list of any variances from or objections to the terms and conditions of the MCPS General Contracting Articles, as well as a justification for any such variances or objections.
* A separate redacted copy of offeror’s proposal as specified in Sections 10.0 and 11.0.

**10.0 TREATMENT OF TECHNICAL DATA IN PROPOSAL**

The proposal submitted in response to this request may contain technical data which the offeror does not want used or disclosed for any purpose other than evaluation of the proposal. The use and disclosure of any such technical data, subject to the provisions of the Maryland Public Information Act, may be so restricted:

Provided, that offeror marks the cover sheet of the proposal with the following legend, specifying the pages of the proposal which are to be restricted in accordance with the conditions of the legend: "Technical data contained in pages      of this proposal shall not be used or disclosed, except for evaluation purposes."

Provided, that if a contract is awarded to this offeror as a result of or in connection with the submission of this proposal, MCPS shall have the right to use or disclose these technical data to the extent provided in the contract.

This restriction does not limit the right of MCPS to use or disclose technical data obtained from another source without restriction.

MCPS assumes no liability for disclosure or use of unmarked technical data or products and may use or disclose the data for any purpose and may consider that the proposal was not submitted in confidence and therefore is releasable. Price and cost data concerning salaries, overhead, and general and administrative expenses are considered proprietary information and will not be disclosed, if marked in accordance with the instructions in Section 11.0.

**11.0 PROPRIETARY AND CONFIDENTIAL INFORMATION**

Offerors are notified that MCPS has unlimited data rights regarding proposals submitted in response to this solicitation. Unlimited data rights mean that MCPS has the right to use, disclose, reproduce, prepare derivative works, distribute copies to the public, or perform publicly and display publicly any information submitted by the offeror in response to this or any solicitation issued by MCPS. However, MCPS will exempt information that is confidential commercial or financial information of an offeror, as defined by the Maryland Public Information Act, State Government Article, Section 10-617, from disclosure. It is the responsibility of the offeror to clearly identify each part of its proposal that is confidential commercial or financial information by stamping the **bottom right-hand corner** of each pertinent page with one-inch bold face letters stating the words “**confidential**” or “**proprietary**.” The offeror agrees that any portion of the proposal that is not stamped as proprietary or confidential is not proprietary or confidential. As a condition for MCPS keeping the information confidential, the offeror must agree to defend and hold MCPS harmless if any information is inadvertently released. Each offeror must submit a proprietary and confidential redacted copy of its proposal to be used in responding to MPIA requests.

**12.0 EVALUATION CRITERIA**

MCPS reserves the right to ask clarifying questions about submitted proposals. Offerors also may ask questions that they may have related to this RFP prior to submitting their responses. See Section 13.0, Schedule of Events. Only proposals received by the deadline will be considered. Proposals will be screened down to a number of finalists.

MCPS reserves the right to convene a meeting with the top qualified offerors prior to awarding a contract. The purpose of the meeting will be to afford both parties an opportunity to discuss any aspects of the requirements and services that will be performed and clarify any issues. Issues raised during the meeting, which cannot be resolved to the satisfaction of MCPS, shall be cause to reject the proposal. In addition, vendors shall be prepared to provide a product and services demonstration, providing an overview of the proposed product and services at no cost to MCPS. As appropriate, the vendor shall be responsible for the installation of the proposed products and services and any third-party software at the District-designated demonstration facility before the demonstration, as necessary. If requested by MCPS, the top qualified offeror or offeror shall provide MCPS with an opportunity to access and review the vendor’s system as in operation at that time, via the Internet from a MCPS computer, to ensure conformity to the requirements of this RFP as well as for the quality and ease of the user interface.

All offerors are advised that in the event of receipt of an adequate number of proposals, which, in the opinion of MCPS require no clarification and/or supplementary information, such proposals may be evaluated without further discussions. Therefore, proposals should be submitted initially on the most complete and favorable terms and conditions. Should proposals submitted require additional clarification and/or supplementary information, offerors should be prepared to submit such additional clarification and/or supplementary information, in a timely manner, when requested

Proposals meeting all requisite criteria will be evaluated. Those who do not meet requisite criteria will not be evaluated further. Selection will be made on the basis of the criteria listed below.

1. Completeness of Response
2. Related past experience, qualifications and capacity
3. Ability to perform (based on the criteria set forth in this RFP, including but not limited to Section 3.0 Scope of Services)
4. References
5. Pricing Proposal

**13.0 SCHEDULE OF EVENTS**

The anticipated schedule of activities related to this RFP is as follows:

**RFP issued:** October 3, 2023

**Questions Due:** October 10, 2023 at 4:00pm

**Proposals Due:** October 24, 2023 at 2:00pm

**Anticipated award date:** February 2024

All dates are subject to change at the discretion of MCPS.

**14.0 ADDENDA/ERRATA**

Changes and addenda to a solicitation may occur prior to the solicitation opening date and time. It is the offeror’s responsibility to check the MCPS website under “Event Calendar” <https://ww2.montgomeryschoolsmd.org/calendar/mcpsbids.aspx> or contact the Division of Procurement at 240-740-7600 to verify whether addenda/errata have been issued.

In the event that MCPS issues addenda/errata, all terms and conditions will remain in effect unless they are specifically and explicitly changed by the addenda/errata. Offerors must acknowledge receipt of such addenda/errata by returning one signed copy of each of the addenda/errata with its proposal. Failure to provide the signed acknowledgement of the addenda/errata may result in a bid being deemed non-responsive.

**15.0 eMARYLAND MARKETPLACE ADVANTAGE (EMMA)**

Maryland law requires local and state agencies to post solicitations on eMaryland Marketplace Advantage. Registration with eMaryland Marketplace is free. It is recommended that any interested supplier register at <https://emma.maryland.gov/>, regardless of the award outcome for this procurement as it is a valuable resource for upcoming bid notifications for municipalities throughout Maryland.

**16.0 Multi-Agency Participation**

MCPS reserves the right to extend the terms and conditions of this solicitation to any and all other agencies within the state of Maryland as well as any other federal, state, municipal, county, or local governmental agency under the jurisdiction of the United States and its territories. This shall include but not be limited to private schools, parochial schools, non-public schools such as charter schools, special districts, intermediate units, non-profit agencies providing services on behalf of government, and/or state, community and/or private colleges/universities that require these goods, commodities and/or services. Use of this solicitation by other agencies may be dependent on special local/state requirements attached to and made a part of the solicitation at the time of contracting. The supplier/contractor agrees to notify the issuing agency of those entities that wish to use any contract resulting from this bid and will also provide usage information, which may be requested. A copy of the contract pricing and the bid requirements incorporated in this contract will be supplied to requesting agencies. Each participating jurisdiction or agency shall enter into its own contract with the Awarded offeror(s) and this contract shall be binding only upon the principal’s signing such an agreement. Invoices shall be submitted "directly" to the MCPS point of contact listed in section 3.3. Disputes over the execution of any contract shall be the responsibility of the participating jurisdiction or agency that entered into that contract. Disputes must be resolved solely between the participating agency and the Awarded offeror. MCPS assumes no authority, liability, or obligation on behalf of any other public or non-public entity that may use any contract resulting from this bid. MCPS pricing is based on the specifications provided in this solicitation.

**17.0 INQUIRIES**

Inquiries regarding this solicitation must be submitted in writing to Stephanie Dorah, Buyer,   
MCPS Division of Procurement, 45 W. Gude Drive, Suite 3100, Rockville, MD 20850, via fax at 301-279-3173 or email to [Stephanie\_J\_Dorah@mcpsmd.org](mailto:Stephanie_J_Dorah@mcpsmd.org). Questions are due by 4:00 p.m. on   
October 10, 2023. Responses will be posted on the MCPS’ Procurement website by October 17, 2023. The Board will not be responsible for any oral or telephone explanation or interpretation by any agent or employee of MCPS. Any binding information given to a contractor in response to a request will be furnished to all contractors as addenda/errata, if such information is deemed necessary for the preparation of proposals, or if the lack of such information would be detrimental to the uninformed contractors. Only such addenda/errata, when issued by MCPS, will be considered binding on MCPS.

**Contact by offerors with any other MCPS employee regarding this solicitation until the contract is awarded by MCPS will be considered by MCPS as an attempt to obtain an unfair advantage and result in non-consideration of their RFP response.** The MCPS Procurement website address is https://www2.montgomeryschoolsmd.org/departments/procurement/vendors/.

**18.0 UNNECESSARILY ELABORATE BROCHURES**

Unnecessarily elaborate brochures or other presentations beyond those sufficient to present a complete and effective proposal are not desired and may be construed as an indication of the offeror’s lack of cost consciousness. Elaborate art work and expensive visual and other presentation aids are neither necessary nor wanted.

**19.0 BID PROTESTS**

Any bid protests, including appeals, will be governed by the applicable MCPS Division of Procurement Regulations. The burden of production of all relevant evidence, data and documents and the burden of persuasion to support the protest is on the offeror making the protest.

**20.0 CONTRACT**

MCPS plans to enter a contractual agreement with Respondent(s) to whom the award is made and intends to make MCPS General Contract Articles, attached hereto and incorporated herein as Appendix A, part of the contractual agreement, except and unless modified by MCPS. In addition, the Contractor will ensure that all staff abide by the provisions of the MCPS General Contract Articles. Proposals must clearly identify any variances from or objections to the specifications in this RFP and the terms and conditions of the MCPS General Contract Articles. Lacking any response to the contrary, MCPS will infer that the Respondent agrees to the specifications of this RFP and each term and condition of the MCPS General Contract Articles. Respondents should note that any variance may provide a basis for MCPS to reject the proposal. **In particular, the provisions set forth in Articles 5, 12-14, 16-18, 21-24, 26, and 28 of the MCPS General Contract Articles are non-negotiable.**

**21.0 NOTICE TO BIDDERS**

The appropriate items below must be completed as part of the RFP. Failure to comply may disqualify your response. Please type or print legibly in ink. (See Next Page)

**I. BIDDER INFORMATION:** As appropriate, check and/or complete one of the items below.

* 1. Legal name (as shown on your income tax return)
* 2. Business Name (if different from above)
* 3. Tax Identification Number

**A copy of your W-9 must be submitted with this bid response.**

**II. BIDDER’S CONTACT INFORMATION:** This will be filed as your permanent contact information.

* 1. Company Name
  2. Address
  3. Bid Representative’s Name
  4. Phone Number/Extension
  5. Fax Number
  6. Toll Free Number
  7. Email Address
  8. Website

1. **VENDOR'S CERTIFICATION:** Upon notification of award, this document in its entirety is the awarded vendor’s contract with MCPS. By signing below, the undersigned acknowledges that he/she is entering into a contract with MCPS.
2. The undersigned proposes to furnish and deliver supplies, equipment, or services, in accordance with specifications and stipulations contained herein, and at the prices quoted. This certifies that this bid is made without any previous understanding, agreement or connection with any person, firm, or corporation making a bid for the same supplies, materials, or equipment, and is in all respects fair and without collusion or fraud.
3. I hereby certify that I am authorized to sign for the bidder and that all statements, representations, and information provided in this response to the Request for Proposals, including but not limited to the Non-Debarment Acknowledgement, are accurate.

By (Signature)

Name and Title

Witness Name and Title