## Sheet1
Company Name:
ITEM # | DESCRIPTION | MANUFACTURE & MODEL | ANNUAL ESTIMATED QUANTITY | UNITS | COST REGULAR RATE | COST OVERTIME RATE | TOTAL COST REG. RATE
1 | Removal of Non-Asbestos Ceiling Tile |  | 25,000 | Sq. Ft. | $ | $ | $
2 | Removal of Non-Asbestos Ceiling Grid System |  | 25000 | Sq. Ft. | $ | $ | $
3 | Installation of New Ceiling Tile (Standard type as specified herein |  | 25000 | Sq. Ft. | $ | $ | $
4 | Installation of New Ceiling Tile (Moisture resistant type as specified herein) |  | 3000 | Sq. Ft. | $ | $ | $
5 | Installation of New Grid System (Standard type as specified herein) |  | 25000 | Sq. Ft. | $ | $ | $
6 | Installation of New Grid System (Moisture-resistant type as specified herein) |  | 3000 | Sq. Ft. | $ | $ | $
7 | Provide and install Lithonia Lighting1’x4’CPXTW LED Panel, Tunable White Configurable or MCPS Approved Equal as specified herein |  | 500 | Each | $ | $ | $
8 | Provide and install Lithonia Lighting 2’ x 2’ CPXTW LED Panel, Tunable White Configurable or MCPS Approved Equivalent as specified herein |  | 500 | Each | $ | $ | $
9 | Provide and install Lithonia Lighting 2’x4’ CPXTW LED Panel, Tunable White Configurable or MCPS Approved Equal as specified herein |  | 500 | Each | $ | $ | $
10 | Provide and install Lithonia Lighting 2’x 4’CPX LED Flat Panel or MCPS Approved Equivalent as specified herein. Acrylic Lens, 0-10v Dimming Driver |  | 400 | Each | $ | $ | $
11 | Provide and install Columbia Lighting MPS4-35XW-CW-EDU or MCPS approved equal 4’ Lensed Strip Light, White Finish, 0-10v Dimming Driver as specified herein |  | 200 | Each | $ | $ | $
12 | Provide and install Lithonia Lighting 2BLT4 TUWH PROR 40L ADP 57VDC DCHUB or MCPS approved equal Architectural, LED Troffer Steel housing, White finish 0-10v Dimming Driver |  | 100 | Each | $ | $ | $
13 | Sensor Switch CM PDT and Power Supply PP20 or MCPS approved equal |  | 1000 | Each | $ | $ | $
14 | Sensor Switch NPODM 4S DX WH and Sensor Power Supply NPS80 or MCPS approved equal |  | 1000 | Each | $ | $ | $
15 | Disconnect, remove, and disposal of all light fixtures |  | 1000 | Each | $ | $ | $
16 | Removal of existing and installation of New Ceiling Mounted Exit Light Fixture as specified “Connect to the existing circuit” Lithonia EXR M6 or MCPS approved Equal |  | 100 | Each | $ | $ | $
17 | Disconnect and reconnect Fire Alarm System Devices | N/A | 1000 | Each | $ | $ | $
18 | Disconnect and reconnection of P.A. System Speakers | N/A | 1000 | Each | $ | $ | $
19 | Disconnect and reconnect Security System Devices | N/A | 1000 | Each | $ | $ | $
20 | Provide and install MC Cable 12/2 | N/A | 1000 | PerFoot | $ | $ | $
21 | Provide and install 1900 boxes and Blank Covers |  | 500 | Each | $ | $ | $
22 | Hourly rates for Carpenter | N/A | 200 | Per Hour | $ | $ | $
23 | Hourly rates for Carpenter Helper | N/A | 200 | Per Hour | $ | $ | $
24 | Hourly rates for Unskilled Labor | N/A | 200 | Per Hour | $ | $ | $
25 | Hourly rates for Licensed Journeyman Electrician | N/A | 200 | Per Hour | $ | $ | $
26 | Hourly rates for Electrical Helper | N/A | 200 | Per Hour | $ | $ | $
27 | HVAC Diffusers Clean, Sand, Prep. and Paint as Specified herein | N/A | 200 | Sq. Ft. | $ | $ | $
28 | HVAC Diffusers replaced with New, White | N/A | 200 | Sq. Ft. | $ | $ | $
29 | Total Cost for Items 1 through 28 - Regular Rate Prices | [5 empty] | $